| Document number | RG-XXXX-XXX-yearmonthday |
| --- | --- |
| Date | 25-05-2020 |
| Version | 0.0 |
| Initiator | [Name author] |
| Checked by | [Name] |
| Client | Client name |

eMPLOYER rEQUIREMENTS

sTEAM & wATER CYCLE, INCLUDING sTEAM TURBINE AND GENERATOR

- Index

1	General	4

2	Definitions	4

3	Introduction	4

4	Waste to Energy Facility System Design	5

4.1	Main Design Criteria	5

4.2	Secondary Design Criteria	5

4.3	Project Management	5

4.4	Proposed Basic System	5

4.5	Electrical Equipment Design Philosophy	5

4.6	Automation Design Philosophy	5

4.7	O&M Strategy	5

5	Scope of Works	6

5.1	General	6

5.2	Steam Turbine Generator Set and Ancillary Plant	6

5.3	Air Cooled Condenser and Ancillary Plant	6

5.4	Electrical Distribution Equipment	6

5.5	Stability and Harmonics Study	6

5.6	Turbine Hall	6

5.7	Miscellaneous Systems	6

6	Design Parameters	7

6.1	Steam Turbine Generator Set and Ancillary Plant	7

6.2	Air Cooled Condenser and Ancillary Plant	7

6.3	Electrical Equipment	7

6.4	Design Conditions for Pipework	7

7	Design and Operating Philosophy	8

7.1	Technology	8

7.2	Operation	8

7.3	Design Conditions	8

7.4	Efficiency	8

7.5	Availability	8

7.6	Noise	8

7.7	Controls	8

7.8	Design Life	8

7.9	Foundations	8

7.10	Fire Protection	8

7.11	Explosion Prevention	8

7.12	Lightning	8

7.13	Seismic Loading	8

7.14	Maintenance	8

7.15	Architecture and External Appearance	8

8	Exclusions	9

8.1	Civil Works and Site Infrastructure	9

8.2	Grate, boiler and Flue Gas Treatment	9

8.3	Balance of Plant	9

9	Terminal Points	10

9.1	Steelwork and Building Enclosure	10

9.2	Condensate and Boiler Feed Water	10

9.3	Steam	10

9.4	Potable Water	10

9.5	Demineralized Water	10

9.6	Effluent	10

9.7	Rain Water	10

9.8	Fire Water	10

9.9	Control Interfaces	10

9.10	Electrical	10

10	Programme and Information Release Schedule	11

10.1	Time for Completion	11

10.2	Project Programme	11

10.3	Project Information Release Schedule	11

10.4	Access to Site	11

11	Performance Guarantees	12

11.1	General	12

11.2	MCR Gross Power	12

11.3	Turbine Thermal Efficiency	12

11.4	Parasitic Electrical Load	12

11.5	Condensate Return Temperature and Quality	12

11.6	Transformer and Cabling Losses	12

11.7	Environmental Emissions	12

11.8	Availability Guarantee	12

11.9	Conditions for Guarantees	12

12	Quality Assurance and Testing	13

12.1	Introduction	13

12.2	Plant, Materials and Workmanship	13

12.3	Tests on Completion	13

12.4	Tests after Completion	13

13	Documents and Drawings	14

# General

# Definitions

# Introduction

# Waste to Energy Facility System Design

## Main Design Criteria

## Secondary Design Criteria

## Project Management

## Proposed Basic System

## Electrical Equipment Design Philosophy

## Automation Design Philosophy

## O&M Strategy

# Scope of Works

## General

## Steam Turbine Generator Set and Ancillary Plant

## Air Cooled Condenser and Ancillary Plant

## Electrical Distribution Equipment

## Stability and Harmonics Study

## Turbine Hall

## Miscellaneous Systems

# Design Parameters

## Steam Turbine Generator Set and Ancillary Plant

## Air Cooled Condenser and Ancillary Plant

## Electrical Equipment

## Design Conditions for Pipework

# Design and Operating Philosophy

## Technology

## Operation

## Design Conditions

## Efficiency

## Availability

## Noise

## Controls

## Design Life

## Foundations

## Fire Protection

## Explosion Prevention

## Lightning

## Seismic Loading

## Maintenance

## Architecture and External Appearance

# Exclusions

## Civil Works and Site Infrastructure

## Grate, boiler and Flue Gas Treatment

## Balance of Plant

# Terminal Points

## Steelwork and Building Enclosure

## Condensate and Boiler Feed Water

## Steam

## Potable Water

## Demineralized Water

## Effluent

## Rain Water

## Fire Water

## Control Interfaces

## Electrical

# Programme and Information Release Schedule

## Time for Completion

## Project Programme

## Project Information Release Schedule

## Access to Site

# Performance Guarantees

## General

## MCR Gross Power

## Turbine Thermal Efficiency

## Parasitic Electrical Load

## Condensate Return Temperature and Quality

## Transformer and Cabling Losses

## Environmental Emissions

## Availability Guarantee

## Conditions for Guarantees

# Quality Assurance and Testing

## Introduction

## Plant, Materials and Workmanship

## Tests on Completion

## Tests after Completion

# Documents and Drawings

HW-KAR-TS-001 Basis of design

HW-KAR-TS-002 Firing Capacity Diagram

HW-KAR-TS-003 Codes, standards & guidelines

HW-KAR-TS-004 Overall Process block schedule

HW-KAR-TS-005 Process Flow Diagrams

HW-KAR-TS-006 Mass & Heat balance

HW-KAR-TS-007 Equipment list

HW-KAR-TS-008 Electrical consumer list

HW-KAR-TS-009 Single line diagram

HW-KAR-TS-010 Plot Plan

HW-KAR-TS-011 Site plan

HW-KAR-TS-012 Overall operation & control philosophy

HW-KAR-TS-013 BIM/3D model

HW-KAR-TS-014 Area classification

HW-KAR-TS-015 Fire Fighting Concept

HW-KAR-TS-016 Cross-list/Division of Work

HW-KAR-TS-017 Overall project schedule

HW-KAR-TS-018 List of major project milestones